## cost
| invest (€/KW) | lifetime (a) | quasi-fixed cost / fixed O&M (€/KW*a) | variable cost / variable O&M (€/MWhe) | fuel cost [from "fuel"] (€/MWht) | CO2 intensity (t/MWht) | efficiency (1) |  |  |  | invest (€/KW) | annualized fix cost (€/KW*a) | qfix-cost mark-up for RT | qfix costs incl RT | balancing cost | fix cost incl RT & Flex & Bal (€/KW*a) | fix cost incl RT & Flex & availability (€/KW*a) | total variable cost (€/MWh) | bidding cost | total cost incl. RT | 1 | 25 | 100 | 500 | 1000 | 1500 | 2000 | 2500 | 3000 | 3500 | 4000 | 4500 | 5000 | 5500 | 6000 | 6500 | 7000 | 7500 | 8000 | 8760
| invest | lifetime | qfixcost | varcost |  | co2int | eff | eff_new | rt_premium | flex_premium | [5 empty] | as in r_tec |  |  |  |  | (scarcity price)
nucl | 4000 | 40 | 40 | 2 | 3 | 0 | 0.33 | 0.33 | 10 | 1 | 4000 | 300.0366 | 100 | 140 | 0 | 440.0366 | 550.0457 | 11.0909 | 1.0909 | nucl | 550046.7853 | 22002.9187 | 5501.5479 | 1101.1823 | 551.1366 | 367.788 | 276.1138 | 221.1092 | 184.4395 | 158.2468 | 138.6023 | 123.3233 | 111.1 | 101.0992 | 92.7652 | 85.7133 | 79.6689 | 74.4303 | 69.8466 | 63.8815
lCCS | 3500 | 40 | 140 | 2 | 3 | 0.045 | 0.35 | 0.35 | 10 | 1 | 3500 | 262.532 | 100 | 240 | 0 | 502.532 | 628.165 | 13.1429 | 3.1429 | lCCS | 628168.1254 | 25129.7422 | 6284.7927 | 1259.4728 | 631.3078 | 421.9195 | 317.2253 | 254.4089 | 212.5312 | 182.6186 | 160.1841 | 142.7351 | 128.7759 | 117.3547 | 107.837 | 99.7836 | 92.8807 | 86.8982 | 81.6635 | 74.8512
lign | 2200 | 40 | 30 | 1 | 3 | 0.45 | 0.38 | 0.42 | 6 | 1 | 2200 | 165.0201 | 60 | 90 | 0 | 255.0201 | 318.7751 | 29.5714 | 23.5714 | lign | 318798.7033 | 12774.5767 | 3211.3227 | 661.1217 | 342.3466 | 236.0882 | 182.959 | 151.0815 | 129.8298 | 114.65 | 103.2652 | 94.4103 | 87.3265 | 81.5305 | 76.7006 | 72.6138 | 69.1107 | 66.0748 | 63.4183 | 59.9613
coal | 1500 | 40 | 25 | 1 | 11.5 | 0.32 | 0.39 | 0.46 | 4 | 1 | 1500 | 112.5137 | 40 | 65 | 0 | 177.5137 | 221.8921 | 39.913 | 35.913 | coal | 221928.0484 | 8911.5985 | 2254.8344 | 479.6973 | 257.8052 | 183.8411 | 146.8591 | 124.6699 | 109.8771 | 99.3108 | 91.3861 | 85.2224 | 80.2915 | 76.2571 | 72.8951 | 70.0503 | 67.6119 | 65.4987 | 63.6496 | 61.2432
CCGT | 1000 | 25 | 12 | 2 | 25 | 0.27 | 0.48 | 0.6 | 0 | 1 | 1000 | 85.8105 | 0 | 12 | 0 | 97.8105 | 122.2631 | 52.6667 | 52.6667 | CCGT | 122315.8132 | 4943.1925 | 1275.2981 | 297.193 | 174.9298 | 134.1754 | 113.7982 | 101.5719 | 93.421 | 87.599 | 83.2325 | 79.8363 | 77.1193 | 74.8963 | 73.0439 | 71.4764 | 70.1328 | 68.9684 | 67.9496 | 66.6236
OCGT | 600 | 25 | 7 | 2 | 50 | 0.27 | 0.3 | 0.45 | 0 | 0.7 | 600 | 51.4863 | 0 | 7 | 0 | 40.9404 | 51.1755 | 125.1111 | 125.1111 | OCGT | 51300.6327 | 2172.132 | 636.8663 | 227.4622 | 176.2866 | 159.2281 | 150.6989 | 145.5813 | 142.1696 | 139.7327 | 137.905 | 136.4834 | 135.3462 | 134.4158 | 133.6404 | 132.9843 | 132.4219 | 131.9345 | 131.5081 | 130.9531
shed | 0 | 1 | 0 | 0 | 1000 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000 | 1000 | shed | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
wind | 1300 | 20 | 25 |  |  |  | 1 | 1 | 0 | 1 | 1300 | 122.7108 | 0 | 25 | 4 | 147.7108 | 147.7108 | 0 | 0 | wind | 2000 | 73.8554
solar | 1600 | 20 | 15 |  |  |  | 1 | 1 | 0 | 1 | 1600 | 151.0287 | 0 | 15 | 4 | 166.0287 | 166.0287 | 0 | 0 | solar | 870 | 190.8376
hydr | 5000 | 40 | 15 |  |  |  | 1 | 1 | 0 | 1 | 5000 | 375.0457 | 0 | 15 | 0 | 390.0457 | 390.0457 | 0 | 0 | hydro | 4890.5109 | 79.7556
PHS | 1500 | 40 | 15 |  |  |  | 0.7 | 0.7 | 0 | 0.7 | 1500 | 112.5137 | 0 | 15 | 0 | 89.2596 | 89.2596 | 0 | 0 | min | 1000 | 73.8554 | 636.8663 | 227.4622 | 174.9298 | 134.1754 | 113.7982 | 101.5719 | 93.421 | 87.599 | 83.2325 | 79.8363 | 77.1193 | 74.8963 | 72.8951 | 70.0503 | 67.6119 | 65.4987 | 63.4183 | 59.9613
ror | 3000 | 40 | 15 |  |  |  | 1 | 1 | 0 | 1 | 1500 | 112.5137 | 0 | 15 | 0 | 89.2596 | 89.2596 | 0 | 0
Light blue area is used in EMMA.
[11 empty] | 265 | 2072.0107 | scarcity price LT | 389.8086 |  | scarcity price ST
CO2 Price | 20 | [9 empty] | 8760 | 64482.999 | scarcity price LT | 8875.1111 |  | scarcity price ST
interst rate | 7%
avail thermal | 0.8
avail other | 1
These parameters are set in GAMS.

## capa0
Net installed total capacities 2009 (Source: plant_database; PowerStatistics)
| GER | FRA | NLD | BEL | POL | GBR | SWE | AUT | ESP | ITA | CHE | NOR |  |  |  | Ligh blue area is used in EMMA | [16 empty] | German fossil fuel capacity (ENTSO-E Statistical Memo) | Fossil fuels
nucl | 20.47 | 63.26 | 0.515 | 5.824 | 9.6 | 10.197 | 9.3 |  |  |  |  | 0 | [20 empty] | 2008 |  | 0.96471
lign | 20.3955 | 0.886 | 0 | 0 | 9.2844 | 0 | 0 |  |  |  |  | 0 | [20 empty] | 2009 | 71.3 | 0.96471
coal | 26.1199 | 7.796 | 6.002 | 1.182 | 20.916 | 31.813 | 0.1 |  |  |  |  | 0 | [20 empty] | 2010 | 69.3 | 0.93765
CCGT | 21.824 | 9.091 | 16.476 | 6.751 | 2.7936 | 34.45 | 4.5 |  |  |  |  | 1 |  |  |  |  | Split OCGT / CCGT unclear from PowerStatistics | [15 empty] | 2011 | 67 | 0.90653
OCGT | 5.569 | 7.774 | 0.366 | 0.394 | 0 | 5.756 | 0 |  |  |  |  | 0 | [20 empty] | 2012 | 67 | 0.90653
shed | [32 empty] | 2013 | 84.4 | 1.142
lCCS | [16 empty] | Hydro & PHS source: Eurelectric Power Statistics for year 2011 | [15 empty] | 2014 | 85.3 | 1.1541
wind | [16 empty] | Germany incl. Luxemburg | [15 empty] | 2015 | 87.3 | 1.1812
solar | [16 empty] | Swedish and Norwegian max generation historically: 13.7 GW / 25 GW
PHS | GER: 6.8; FRA: 4.2; SWE: 0; NOR: 0 |  |  |  |  | Germany ROR adjusted to yield realistic FLH
hydr | FRA: 9.2; SWE: 13.7; NOR: 25
ror | 4 | 12 | 0 | 0.1 | 0.4 | 1.6 | 0 | 5.4 | 1.2 | 4.8 |  | 0
sum | GER: 105.1784; FRA: 114.207; NLD: 23.359; BEL: 14.251; POL: 42.994; GBR: 83.816; SWE: 27.6
sum * 0.8 | GER: 84.1427; FRA: 91.3656; NLD: 18.6872; BEL: 11.4008; POL: 34.3952; GBR: 67.0528; SWE: 22.08
Net installed CHP capacities 2009 (Source: plant_database)
| GER | FRA | NLD | BEL | POL | GBR | DKW | DKE | SWE | NOR | [5 empty] | Ligh blue area is used in EMMA
nucl
lign | 2.3355 | 0.268 | 0 | 0 | 0 | 0
coal | 11.6119 | 1.725 | 1.245 | 0 | 0.33165 | 0 | 1 | 1
CCGT | 13.345 | 7.03 | 5.793 | 1.5344 | 1.2416 | 5.244 |  |  | 2.8 | 0.8
OCGT | 0.873 | 0.123 | 0.104 | 0 | 0 | 0.48
shed
lCCS
sum | 28.1654 | 9.146 | 7.142 | 1.5344 | 1.5733 | 5.724 | 1 | 1 | 2.8 | 0.8 | 0 | 0 | 0 | 0 | 0
Historical generation 2011 (Source: PowerStatistics)
| GER | FRA | NLD | BEL | POL | GBR | SWE | AUT | ESP | ITA | CHE | NOR
nucl
lign
coal
CCGT
OCGT
shed
lCCS
wind
solar
PHS
hydr | 1 | 29 | 0 | 0 | 1 | 0 | 67 | 0 | 30 | 26 | 17 | 123 |  |  |  |  | According to PowerStatistics: Austria has only ROR (no hydro reservoir) generation
ror | 20 | 34 | 0 | 0 | 1 | 5 | 0 | 25 | 0 | 20 | 15 | 0 |  |  |  |  | French data corrected according to IEA monthly statistics totals (mean 2008-15)
CHP | 86 | 22 | 64 | 10 | 32 | 38 | 14 | 18 | 37 | 100 | 4 | 3
hydro FLH | FRA: 3152.1739; SWE: 4890.5109; NOR: 4920
Generation by technology and year (Wind and solar from Eurostat, rest from IEA Monthly Electricity Statistics) | [31 empty] | IEA monthly statistics
| GER | GER | GER | GER | GER | GER | GER | GER | FRA | FRA | FRA | FRA | FRA | FRA | FRA | FRA | BEL | BEL | BEL | BEL | BEL | BEL | BEL | BEL | NLD | NLD | NLD | NLD | NLD | NLD | NLD | NLD | POL | POL | POL | POL | POL | POL | POL | POL | SWE | SWE | SWE | SWE | SWE | SWE | SWE | SWE | NOR | NOR | NOR | NOR | NOR | NOR | NOR | NOR
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
nucl | 140.708 | 127.69 | 132.972 | 102.241 | 94.18 | 92.127 | 91.974 | 86.4535 | 418.298 | 389.999 | 407.877 | 421.074 | 404.882 | 403.696 | 415.579 | 410.4644 | 43.359 | 44.958 | 45.729 | 45.943 | 38.463 | 40.632 | 32.064 | 24.0065 | 3.933 | 3.999 | 3.752 | 3.919 | 3.742 | 2.737 | 3.883 | 3.8247 | [8 empty] | 61.322 | 50.023 | 55.626 | 58.023 | 61.394 | 63.597 | 61.677 | 54.2046
lign
coal
CCGT
OCGT
shed
lCCS
wind | 40.574 | 38.647 | 37.793 | 48.883 | 50.67 | 51.708 | 57.357 | 86 | 5.694 | 7.912 | 9.945 | 12.051 | 14.914 | 16.034 | 17.2489 | 20.6987 | 0.637 | 0.996 | 1.292 | 2.312 | 2.751 | 3.687 | 4.6139 | 5.5367 | 4.446 | 4.757 | 4.206 | 5.346 | 5.383 | 6.267 | 6.729 | 8.1055 | 0.837 | 1.077 | 1.744 | 3.288 | 4.788 | 6.046 | 7.721 | 10.092 | 1.996 | 2.493 | 3.512 | 6.089 | 7.185 | 9.876 | 11.539 | 15.6349 | 1.079 | 1.052 | 1.033 | 1.341 | 1.55 | 2.043 | 2.519 | 2.7229
solar | 4.4198 | 6.5832 | 11.7287 | 19.5987 | 26.3799 | 31.0096 | 36.0564 | 39 | 0.041694 | 0.17397 | 0.62 | 2.0778 | 4.0163 | 4.7341 | 5.9089 | 7.0907 | 0.041389 | 0.166 | 0.56039 | 1.1696 | 2.1483 | 2.644 | 2.8828 | 3.4593 | 0.039611 | 0.044889 | 0.055861 | 0.10447 | 0.22631 | 0.4875 | 0.78472 | 0.94167 | 0 | 0 | 0 | 0.00016667 | 0.0011111 | 0.0014722 | 0.0068889 | 0.0082667 | 0.004 | 0.007 | 0.0086111 | 0.011 | 0.019 | 0.035 | 0.047 | 0.0564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PHS
hydr | FRA: 67.532; FRA: 61.21; FRA: 66.698; FRA: 49.256; FRA: 62.814; FRA: 74.714; FRA: 65.922; FRA: 58.6527; IEA monthly statistics SWE: 68.659; IEA monthly statistics SWE: 65.45; IEA monthly statistics SWE: 66.382; IEA monthly statistics SWE: 66.169; IEA monthly statistics SWE: 78.457; IEA monthly statistics SWE: 60.947; IEA monthly statistics SWE: 63.92; IEA monthly statistics SWE: 75.8651; IEA monthly statistics NOR: 139.374; IEA monthly statistics NOR: 125.474; IEA monthly statistics NOR: 116.657; IEA monthly statistics NOR: 121.047; IEA monthly statistics NOR: 142.266; IEA monthly statistics NOR: 128.414; IEA monthly statistics NOR: 136.055; IEA monthly statistics NOR: 138.7994
ror
bio | GER: 27.8; GER: 30.6; GER: 34.3; GER: 37.6; GER: 44.7; GER: 46.6; GER: 48.9; GER: 49.9
| 1 | 0.90748 | 0.94502 | 0.72662 | 0.66933 | 0.65474 | 0.65365 | 0.61442 | [32 empty] | 1 | 0.81574 | 0.90711 | 0.9462 | 1.0012 | 1.0371 | 1.0058 | 0.88393

## demand
Electricity demand in TWh (Source: IEA Monthly electricity statistics)
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | long-run | heat
AUT | 69.487 | 68.395 | 71.593 | 71.97 | 73.309 | 73.133 | 72.569 | 73.0789 |  | 70.9508
BEL | 91.983 | 85.69 | 91.991 | 89.266 | 89.885 | 89.832 | 87.39 | 88.0975 |  | 89.763 | 15.8405
DNK | 36.304 | 34.798 | 35.736 | 34.868 | 34.437 | 34.228 | 33.492 | 33.2531 |  | 35.2286
FIN | 87.251 | 81.293 | 87.702 | 84.242 | 85.128 | 84.046 | 83.291 | 81.336 |  | 85.1232
FRA | 500.339 | 486.226 | 513.548 | 480.078 | 496.742 | 500.225 | 472.083 | 471.7069 |  | 495.3866 | 87.4212
GER | 580.866 | 546.274 | 579.873 | 573.153 | 572.201 | 564.509 | 545.85 | 562.2349 |  | 570.4734 | 100.6718 | BMWi data is 6% higher --> all consumption data scaled by 6% in Gams
ITA | 347.1 | 326.066 | 334.905 | 337.173 | 330.907 | 320.968 | 311.935 | 317.5407 |  | 335.2302
NLD | 119.224 | 113.835 | 117.121 | 118.13 | 115.761 | 115.045 | 113.421 | 114.0687 |  | 116.8142 | 20.6143
NOR | 127.635 | 122.18 | 130.619 | 123.987 | 129.339 | 128.598 | 126.141 | 127.4313 |  | 126.752
POL | 140.807 | 135.699 | 142.102 | 143.673 | 144.81 | 145.521 | 147.297 | 149.9596 |  | 141.4182 | 24.9562
ESP | 290.506 | 275.342 | 282.618 | 277.189 | 275.37 | 267.724 | 265.095 | 279.2847 |  | 280.205
SWE | 144.447 | 138.03 | 147.359 | 139.701 | 143.259 | 139.535 | 134.994 | 133.6691 |  | 142.5592
CHE | 65.69 | 64.196 | 66.65 | 65.546 | 66.008 | 66.217 | 64.245 | 64.5425 |  | 65.618
GBR | 383.575 | 363.009 | 368.265 | 357.055 | 357.332 | 355.697 | 340.15 | 333.0087 |  | 365.8472
All | 2985.214 | 2841.033 | 2970.082 | 2896.031 | 2914.488 | 2885.278 | 2797.953 | 2829.2127 | 0 | 2921.3696
aR | 1705.301 | 1627.934 | 1722.613 | 1667.988 | 1691.997 | 1683.265 | 1627.176 | 1647.168 | 0 | 1683.1666
cR | 1433.219 | 1367.724 | 1444.635 | 1404.3 | 1419.399 | 1415.132 | 1366.041 | 1386.0676 | 0 | 1413.8554
| '08 | '09 | '10 | '11 | '12 | '13 | '14 | '15 | '16
Net imports from model region (aR) (Source: ENTSO-E Statistical factsheet)
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
BEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FRA | -19.877 | -19.877 | -19.678 | -30.152 | -26.069 | -29.832 | -40.55 | -40.55
GER | -10.679 | -10.679 | -10.821 | -14.282 | -12.597 | -8.146 | -13.441 | -20.1615
NLD | 0 | 0 | 0 | -1.788 | -5.819 | -6.382 | -7.851 | -7.851
NOR | 0.015 | 0.015 | 0.047 | -0.004 | 0 | 0.067 | 0.076 | 0.076
POL | -8.812 | -8.812 | -6.779 | -11.177 | -11.247 | -9.685 | -9.969 | -9.969
SWE | 1.186 | 1.186 | 2.834 | -1.929 | -14.359 | -12.191 | -18.298 | -18.298
All / aR | -38.167 | -38.167 | -34.397 | -59.332 | -70.091 | -66.169 | -90.033 | -96.7535 |  |  |  | Increasing net exports
| no data | [6 empty] | no data

## fuel
Fuel costs in €/MWht (Source: Market prices, own assumption)
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | long-run
nucl | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
lCCS | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
lign | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
coal | 12.0968 | 6.1035 | 8.4065 | 10.5182 | 8.6741 | 7.4106 | 6.8363 | 6.4177 | 3.7071 | 11.5
CCGT | 30.4854 | 21.6675 | 21.1685 | 25.9814 | 31.8261 | 28.7541 | 26.8807 | 22.4711 | 14 | 25
OCGT | 60.9707 | 43.335 | 42.3371 | 51.9628 | 63.6523 | 57.5081 | 53.7614 | 44.9423 | 28 | 50
shed | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
Light blue area is used in EMMA.
CO2 prices in €/t
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | long-run
CO2 | 25 | 15 | 15 | 10 | 7 | 5 | 6 | 7 | 5 | 20
Light blue area is used in EMMA.
Efficiency (heat rate)
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | long-run
nucl | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33
lCCS | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35
lign | 0.38 | 0.3819 | 0.3838 | 0.3857 | 0.3876 | 0.3895 | 0.3914 | 0.3933 | 0.3952 | 0.38
coal | 0.39 | 0.39195 | 0.3939 | 0.39585 | 0.3978 | 0.39975 | 0.4017 | 0.40365 | 0.4056 | 0.39
CCGT | 0.48 | 0.4824 | 0.4848 | 0.4872 | 0.4896 | 0.492 | 0.4944 | 0.4968 | 0.4992 | 0.48
OCGT | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
shed | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
wind | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
solar | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
hydr | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
PHS | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7
ror | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Light blue area is used in EMMA. | [9 empty] | Old eff.

## monthly
Monthly fluctuating parameters (Sources: Own assumptions) | [7 empty] | inflow_SWE | ROR_GER
| avail_FRA_nuc | avail | avail_mod | gasprice | inflow_SWE | ROR_GER | Ligh blue area is used in EMMA | 70.6 | 4840
jan | 0.8 | 0.9 | 0.85 | 1.3 | 0.035411 | 0.068182 |  | 2.5 | 330
feb | 0.8 | 0.9 | 0.85 | 1.3 | 0.026912 | 0.055785 |  | 1.9 | 270
mar | 0.8 | 0.85 | 0.825 | 1.2 | 0.018414 | 0.061983 |  | 1.3 | 300
apr | 0.7 | 0.8 | 0.8 | 1 | 0.072238 | 0.07438 |  | 5.1 | 360
may | 0.7 | 0.75 | 0.775 | 0.9 | 0.21671 | 0.11364 |  | 15.3 | 550
jun | 0.6 | 0.7 | 0.75 | 0.7 | 0.17989 | 0.11157 |  | 12.7 | 540
jul | 0.6 | 0.7 | 0.75 | 0.7 | 0.10765 | 0.11983 |  | 7.6 | 580
aug | 0.6 | 0.7 | 0.75 | 0.7 | 0.090652 | 0.10331 |  | 6.4 | 500
sep | 0.6 | 0.75 | 0.775 | 0.9 | 0.090652 | 0.088843 |  | 6.4 | 430
oct | 0.7 | 0.8 | 0.8 | 1 | 0.072238 | 0.076446 |  | 5.1 | 370
nov | 0.7 | 0.9 | 0.85 | 1 | 0.053824 | 0.068182 |  | 3.8 | 330
dec | 0.7 | 0.9 | 0.85 | 1.3 | 0.035411 | 0.057851 |  | 2.5 | 280

## FLH
Onshore wind FLH for a 1300 €/kW turbine
| solar | wind | hydro | ror
GER | 870 | 2000
FRA | 1000 | 2000 | 3152.1739
NLD | 870 | 2200
BEL | 900 | 2100
POL | 850 | 1900
GBR | 830 | 2400
SWE | 850 | 2200 | 4890.5109
AUT | 900 | 1900
ESP | 1300 | 2100
ITA | 1100 | 1900
CHE | 960 | 1900
NOR | 850 | 2400 | 4920
CHN | 1600 | 2500
Light blue area is used in EMMA.

## NTC
NTC values Summer 2010 in MW, lower values are used (Source: ENTSO-E)
| from to | IRL | GBR | PRT | ESP | FRA | BEL | NLD | LUX | GER | DKW | DKE | NOR | SWE | FIN | CHE | ITA | AUT | SVN | POL | CZE | SVK | HUN | GRC | ROU | HRV | BIH | SRB | MNE | MKD | BGR | Ligh blue area is used in EMMA
Irland/Northirland | IRL | GBR: 410
Great Britain | GBR | IRL: 80; FRA: 2000
Portugal | PRT | ESP: 1200
Spain | ESP | PRT: 1200; FRA: 1200
France | FRA | GBR: 2000; ESP: 500; BEL: 1300; GER: 3200; CHE: 1100; ITA: 870
Belgium | BEL | FRA: 2900; NLD: 2200
Netherlands | NLD | BEL: 2300; GER: 4000; NOR: 700
Luxemburg | LUX | GER: 980
Germany | GER | FRA: 2600; NLD: 3900; LUX: 980; DKW: 1500; DKE: 555; SWE: 2617.5; CHE: 4400; AUT: 1600; POL: 1200; CZE: 2100
Denmark West | DKW | GER: 950; NOR: 950; SWE: 680
Denmark Est | DKE | GER: 550; SWE: 1300
Norway | NOR | NLD: 700; DKW: 950; SWE: 3700
Sweden | SWE | GER: 2570; DKW: 740; DKE: 1700; NOR: 3545; FIN: 1650; POL: 600
Finland | FIN | SWE: 2050
Switzerland | CHE | FRA: 3000; GER: 2060; ITA: 1440; AUT: 540
Italien | ITA | FRA: 2400; CHE: 3460; AUT: 200; SVN: 300; GRC: 500
Austria | AUT | GER: 1600; CHE: 1000; ITA: 70; SVN: 900; CZE: 800; HUN: 350
Slovenia | SVN | ITA: 120; AUT: 900; HRV: 700
Poland | POL | GER: 800; SWE: 600; CZE: 800; SVK: 500
Czech Republic | CZE | GER: 800; AUT: 600; POL: 1900; SVK: 1100
Slovakia | SVK | POL: 600; CZE: 2100; HUN: 500
Hungary | HUN | AUT: 500; SVK: 1150; ROU: 500; HRV: 500; SRB: 600
Greece | GRC | ITA: 500; MKD: 250; BGR: 800
Romania | ROU | HUN: 600; SRB: 300; BGR: 400
Croatia | HRV | SVN: 800; HUN: 1000; BIH: 450; SRB: 350
Bosnia Herzegovina | BIH | HRV: 550; SRB: 350; MNE: 450
Serbia | SRB | HUN: 600; ROU: 600; HRV: 400; BIH: 500; MNE: 400; MKD: 200; BGR: 400
Montenegro | MNE | BIH: 400; SRB: 400
Macedonia | MKD | GRC: 100; SRB: 450; BGR: 450
Bulgaria | BGR | GRC: 100; ROU: 400; SRB: 100; MKD: 50

## km
Distance in km from country center to country center; own estimates.
| from to | GBR | FRA | BEL | NLD | GER | DKW | DKE | NOR | SWE | POL | FIN | Ligh blue area is used in EMMA
| GBR | 0 | 646.21 | 475 | 436 | 0 | 797 | 0 | 1195 | 0 | 0 | 0
| FRA | 646.21 | 0 | 342 | 0 | 694 | 0 | 0 | 0 | 0 | 0 | 0
| BEL | 475 | 342 | 0 | 163 | 437 | 0 | 0 | 0 | 0 | 0 | 0
| NLD | 436 | 0 | 163 | 0 | 359 | 0 | 0 | 1047 | 0 | 0 | 0
| GER | 0 | 694 | 437 | 359 | 0 | 587 | 524 | 1158 | 959.63 | 629 | 0
| DKW | 797 | 0 | 0 | 0 | 587 | 0 | 200 | 571 | 506 | 0 | 0
| DKE | 0 | 0 | 0 | 0 | 524 | 200 | 0 | 0 | 453 | 0 | 0
| NOR | 1195 | 0 | 0 | 1047 | 1158 | 571 | 0 | 0 | 440 | 0 | 0
| SWE | 0 | 0 | 0 | 0 | 959.63 | 506 | 453 | 440 | 0 | 779 | 659
| POL | 0 | 0 | 0 | 0 | 629 | 0 | 0 | 0 | 779 | 0 | 0
| FIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 659 | 0 | 0

## ACDC
HVAC=1 HVDC=2; land connections were assumed to be AC and sea cables to be DC (Source: Peter Kämpfer)
| from to | IRL | GBR | PRT | ESP | FRA | BEL | NLD | LUX | GER | DKW | DKE | NOR | SWE | FIN | CHE | ITA | AUT | SVN | POL | CZE | SVK | HUN | GRC | ROU | HRV | BIH | SRB | MNE | MKD | BGR | Ligh blue area is used in EMMA
Irland/Northirland | IRL | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Great Britain | GBR | 2 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portugal | PRT | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spain | ESP | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
France | FRA | 0 | 2 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Belgium | BEL | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Netherlands | NLD | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Luxemburg | LUX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Germany | GER | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 2 | 2 | 2 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Denmark West | DKW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Denmark Est | DKE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Norway | NOR | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sweden | SWE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finland | FIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Switzerland | CHE | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Italien | ITA | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Austria | AUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Slovenia | SVN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Poland | POL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Czech Republic | CZE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Slovakia | SVK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hungary | HUN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Greece | GRC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Romania | ROU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
Croatia | HRV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bosnia Herzegovina | BIH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Serbia | SRB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Montenegro | MNE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Macedonia | MKD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bulgaria | BGR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## template (2) (hidden)
Report XXX, scenario YYY, p. ZZZ, www.XXX.com
|  |  | "today" (20XX) | 2015 | 2020 | 2030 | 2040 | 2050 |  | "today" (20XX) | 2015 | 2020 | 2030 | 2040 | 2050
GER | energy (TWh) | wind onshore | [6 empty] | capacity (GW)
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal | [6 empty] | capacity (GW)
lignithe
gas
nuklear
oil
other conventional
| TWh | RES | [6 empty] | Mt CO2
non-RES
generation
consumption
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
SWE | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
POL | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
NLD | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
BEL | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
FRA | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
NOR | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
DK | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
GBR | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
... | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions